{"text_format":"3","workbook":"xls","n_sheets":3,"sheets":["越秀区维修住院部6楼新生儿科全部改造","Sheet2","Sheet3"],"not_rendered":{"external_links":2},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"越秀区维修住院部6楼新生儿科全部改造","index":0,"n_rows":144,"n_cols":7,"rows_kept":144,"merged":[[0,0,0,7],[1,0,1,7],[2,0,4,0],[2,1,4,2],[2,3,4,3],[2,4,4,4],[2,5,4,5],[2,6,4,7],[5,1,5,2],[5,6,5,7],[6,1,6,2],[6,6,6,7],[7,1,7,2],[7,6,7,7],[8,1,8,2],[8,6,8,7],[9,1,9,2],[9,6,9,7],[10,1,10,2],[10,6,10,7],[11,1,11,2],[11,6,11,7],[12,1,12,2],[12,6,12,7],[13,1,13,2],[13,6,13,7],[14,1,14,2],[14,6,14,7],[15,1,15,2],[15,6,15,7],[16,1,16,2],[16,6,16,7],[17,1,17,2],[17,6,17,7],[18,1,18,2],[18,6,18,7],[19,1,19,2],[19,6,19,7],[20,1,20,2],[20,6,20,7],[21,1,21,2],[21,6,21,7],[22,1,22,2],[22,6,22,7],[23,1,23,2],[23,6,23,7],[24,1,24,2],[24,6,24,7],[25,1,25,2],[25,6,25,7],[26,1,26,2],[26,6,26,7],[27,1,27,2],[27,6,27,7],[28,1,28,2],[28,6,28,7],[29,1,29,2],[29,6,29,7],[30,1,30,2],[30,6,30,7],[31,1,31,2],[31,6,31,7],[32,1,32,2],[32,6,32,7],[33,1,33,2],[33,6,33,7],[34,1,34,2],[34,6,34,7],[35,1,35,2],[35,6,35,7],[41,0,41,7],[42,0,42,7],[43,0,45,0],[43,1,45,2],[43,3,45,3],[43,4,45,4],[43,5,45,5],[43,6,45,7],[46,1,46,2],[46,6,46,7],[47,1,47,2],[47,6,47,7],[48,1,48,2],[48,6,48,7],[49,1,49,2],[49,6,49,7],[50,1,50,2],[50,6,50,7],[51,1,51,2],[51,6,51,7],[52,1,52,2],[52,6,52,7],[53,1,53,2],[53,6,53,7],[54,1,54,2],[54,6,54,7],[55,1,55,2],[55,6,55,7],[56,1,56,2],[56,6,56,7],[57,1,57,2],[57,6,57,7],[58,1,58,2],[58,6,58,7],[59,1,59,2],[59,6,59,7],[60,1,60,2],[60,6,60,7],[61,1,61,2],[61,6,61,7],[62,1,62,2],[62,6,62,7],[63,1,63,2],[63,6,63,7],[64,1,64,2],[64,6,64,7],[65,1,65,2],[65,6,65,7],[66,1,66,2],[66,6,66,7],[67,1,67,2],[67,6,67,7],[68,1,68,2],[68,6,68,7],[69,1,69,2],[69,6,69,7],[70,1,70,2],[70,6,70,7],[71,1,71,2],[71,6,71,7],[72,1,72,2],[72,6,72,7],[73,1,73,2],[73,6,73,7],[74,1,74,2],[74,6,74,7],[75,1,75,2],[75,6,75,7],[76,1,76,2],[76,6,76,7],[77,1,77,2],[77,6,77,7],[83,0,83,7],[84,0,84,7],[85,0,87,0],[85,1,87,2],[85,3,87,3],[85,4,87,4],[85,5,87,5],[85,6,87,7],[88,1,88,2],[88,6,88,7],[89,1,89,2],[89,6,89,7],[90,1,90,2],[90,6,90,7],[91,1,91,2],[91,6,91,7],[92,1,92,2],[92,6,92,7],[93,1,93,2],[93,6,93,7],[94,1,94,2],[94,6,94,7],[95,1,95,2],[95,6,95,7],[96,1,96,2],[96,6,96,7],[97,1,97,2],[97,6,97,7],[98,1,98,2],[98,6,98,7],[99,1,99,2],[99,6,99,7],[100,1,100,2],[100,6,100,7],[101,1,101,2],[101,6,101,7],[102,1,102,2],[102,6,102,7],[103,1,103,2],[103,6,103,7],[104,1,104,2],[104,6,104,7],[105,1,105,2],[105,6,105,7],[106,1,106,2],[106,6,106,7],[107,1,107,2],[107,6,107,7],[108,1,108,2],[108,6,108,7],[109,1,109,2],[109,6,109,7],[110,1,110,2],[110,6,110,7],[111,1,111,2],[111,6,111,7],[125,0,125,7],[126,0,126,7],[127,0,129,0],[127,1,129,2],[127,3,129,3],[127,4,129,4],[127,5,129,5],[127,6,129,7],[130,1,130,2],[130,6,130,7],[131,1,131,2],[131,6,131,7],[132,1,132,2],[132,6,132,7],[133,1,133,2],[133,6,133,7],[134,1,134,2],[134,6,134,7],[135,1,135,2],[135,6,135,7],[136,1,136,2],[136,6,136,7],[137,1,137,2],[137,6,137,7],[138,1,138,2],[138,6,138,7],[139,1,139,2],[139,6,139,7],[140,1,140,2],[140,6,140,7],[141,1,141,2],[141,6,141,7],[142,1,142,2],[142,6,142,7],[143,1,143,2],[143,6,143,7],[144,1,144,2],[144,6,144,7],[145,1,145,2],[145,6,145,7],[146,1,146,2],[146,6,146,7],[147,1,147,2],[147,6,147,7],[148,1,148,2],[148,6,148,7],[149,1,149,2],[149,6,149,7],[150,1,150,2],[150,6,150,7],[151,1,151,2],[151,6,151,7],[152,1,152,2],[152,6,152,7],[153,1,153,2],[153,6,153,7],[154,1,154,2],[154,6,154,7],[155,1,155,2],[155,6,155,7],[156,1,156,2],[156,6,156,7]],"flags":["formulas_cached_only"]}
["工程预算表"]
["越秀区维修住院部6楼新生儿科全部改造"]
["序号","工程名称",null,"单位","数量","单价","总价"]
[]
[]
[1,"越秀区维修住院部6楼新生儿科二室间墙改造",null,"项",1]
[2,"越秀区维修住院部6楼新生儿科会议室更衣室改造",null,"项",1]
[3,"越秀区维修住院部6楼新生儿科三室间墙及治疗室改造",null,"项",1]
{"$rows_empty":33}
["工程预算表"]
["越秀区维修住院部6楼新生儿科二室间墙改造"]
["序号","工程名称",null,"单位","数量","单价","总价"]
[]
[]
[1,"拆除彩钢板墙面",null,"M2",38]
[2,"拆除办公区桌子",null,"M",10]
[3,"拆除前治疗室柜子（含吊柜）",null,"M",15]
[4,"墙面间隔铝合金",null,"M2",8]
[5,"墙面间隔彩钢板",null,"M2",25]
[6,"墙面间隔玻璃（包玻璃框）",null,"M2",20]
[7,"1500mm防撞双开门",null,"套",1]
[8,"1200mm推拉门",null,"套",2]
[9,"1200mm子母房门",null,"套",2]
[10,"洗手池",null,"个",4]
[11,"感应水龙头及下水件",null,"套",4]
[12,"给排水安装",null,"套",4]
[13,"楼下吊铝扣板天花",null,"M2",60]
[14,"吊轮",null,"副",2]
[15,"导轨",null,"M",5]
[16,"桌面间隔亚克力板8厘（铝合金框边）",null,"M2",20]
[17,"不锈钢条压边",null,"M",70]
[18,"安装电路包括（灯具更换、插座更换迁移及新安装）",null,"M2",100]
[19,"夹板围闭",null,"M2",100]
[20,"1.5匹分体空调(格力、松下、三菱)",null,"台",1]
[21,"设备带迁移及重新订做安装",null,"M",10]
{"$rows_empty":10}
["合计"]
[]
[]
[]
[]
[]
["工程预算表"]
["越秀区维修住院部6楼新生儿科会议室更衣室改造"]
["序号","工程名称",null,"单位","数量","单价","总价"]
[]
[]
[1,"拆除砖墙",null,"M2",30]
[2,"拆除地面斜波",null,"M2",6]
[3,"拆除天花",null,"M2",55]
[4,"地面铺砖",null,"M2",10]
[4,"墙面刷漆",null,"M2",300]
[5,"间隔防火彩钢板",null,"M2",45]
[6,"600×600吊铝扣板天花",null,"M2",80]
[7,"安装电路",null,"M2",60]
[8,"安装更衣室门",null,"套",1]
[9,"安装仓库门",null,"套",1]
[10,"夹板围闭",null,"M2",80]
[11,"轻钢龙骨墙体",null,"M2",40]
{"$rows_empty":11}
["合计"]
{"$rows_empty":13}
["工程预算表"]
["越秀区维修住院部6楼新生儿科三室间墙及治疗室改造"]
["序号","工程名称",null,"单位","数量","单价","总价"]
[]
[]
[1,"拆除彩钢板墙面",null,"M2",6]
[2,"拆除新治疗室天花",null,"M2",6]
[3,"拆除新治疗室门",null,"个",1]
[4,"新治疗室粉刷墙面",null,"M2",20]
[5,"600×600吊铝扣板天花",null,"M2",6]
[6,"安装新中央空调（开利、约克、特菱）",null,"台",1]
[7,"新空调布管",null,"项",1]
[8,"安装电路",null,"M2",10]
[9,"1200mm子母房门",null,"套",1]
[10,"洗手池",null,"个",1]
[11,"感应水龙头及下水件",null,"套",1]
[12,"给排水安装",null,"套",1]
[13,"桌面间隔亚克力板8厘（铝合金框边）",null,"M2",15.4]
[14,"不锈钢条压边",null,"M",60.56]

{"sheet":"Sheet2","index":1,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}

{"sheet":"Sheet3","index":2,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}